## Sheet1
Cost of Overprocurement Calculator
Last update: January 8, 2025
Green cells are inputs; Change as desired
Yellow cells are outputs; Do not change
Calculator Inputs
Capacity overprocurred (MW) | 2500
Capacity factor (%) | 33
Hours per year | 8760
Output (MWh) |  | 7227000
Unit cost ($MWh) | 60
Annual cost ($) |  | 433620000
Inflation rate (%) | 2
Demand growth rate (%) | 4.4
Initial energy demand (TWh) | 151
Monthly consumption per houshold (kWh) | 750
Consumer discount rate (%) | 2
Year |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Enegy Demand |  | 151000000 | 157644000 | 164580336 | 171821870.784 | 179382033.0985 | 187274842.5548 | 195514935.6272 | 204117592.7948 | 213098766.8778 | 222475112.6204 | 232264017.5757
Annual cost |  | 433620000 | 442292400 | 451138248 | 460161012.96 | 469364233.2192 | 478751517.8836 | 488326548.2413 | 498093079.2061 | 508054940.7902 | 518216039.606 | 528580360.3981
$MWh |  |  | 2.8056 | 2.7411 | 2.6781 | 2.6166 | 2.5564 | 2.4976 | 2.4402 | 2.3841 | 2.3293 | 2.2758
Cents/kWh |  |  | 0.028056 | 0.027411 | 0.026781 | 0.026166 | 0.025564 | 0.024976 | 0.024402 | 0.023841 | 0.023293 | 0.022758
Consequences for Houshold Bills
Bill increase ($/month) |  |  | 21.0423 | 20.5586 | 20.086 | 19.6242 | 19.1731 | 18.7323 | 18.3017 | 17.881 | 17.4699 | 17.0683
Bill increase ($/year) |  |  | 252.5077 | 246.7029 | 241.0315 | 235.4906 | 230.077 | 224.7879 | 219.6203 | 214.5716 | 209.6389 | 204.8196
PV ten-year cost to households ($) | 2055.1264 |  | 247.5565 | 237.1231 | 227.1294 | 217.5569 | 208.3878 | 199.6052 | 191.1927 | 183.1348 | 175.4165 | 168.0234